CRIB 2

BABY CRIB

- Antibacterial electrostatic powder painted frame

- Easy cleanable surface.

- Reverse Trendelenburg position with multiple angles up to 10 degrees.

- Antibacterial, transparent, Plexiglas bassinet.

- Pushing bar at head side.

- Antibacterial mattress with high density of 22 kg/m3.

- Lower basket for newborn baby’s belongings.

- 360o Swivel, diagonal lockable castors.

TECHNICAL DETAILS

Width	: 47 cm

Length	: 83 cm

Height	: 104 cm

Bassinet Height	: 25 cm

Reverse Trendelenburg	: 10°

Sleep Surface Width	: 33 cm

Sleep Surface Lenght	: 64 cm

Castor Diameter	: 50 mm

Mattress Thickness	: 6 cm