EMERGEUM

FUNCTIONAL EMERGENCY STRETCHER

Click for detailed video of the product

- Hydraulic height adjustment supported with columns

- Height adjustment pedals on both sides

- 2 sections mattress surface

- Trendelenburg and Reverse Trendelenburg positions

- Backrest adjustment assisted by gas spring

- Foam mattress with Removable, anti-static and fire-retardant, waterproof and compatible with the size of the stretcher, 10 cm mattress thickness

- X-Ray Translucent mattress platform

- X-Ray Cassette holder sliding under whole mattress platform

- Oxygen tank holder (12 liters)

- Swing away (collapsible) side rails with locking mechanism

- Foldable Pushing bars

- Shockproof protection on four sides made of soft plastic material

- Electrostatic powder (epoxy) coated main frame

- Central brake pedals on each corner

- Height adjustable IV Pole Stand

- Paper Roll hanger

- Urine bag hanger hooks

- Anti-static and anti-tracing, 360° swivel castors

- 200 mm Castors with central braking mechanism and steer control

- 5th wheel for easy maneuverability

- Patient safety belt (optional)

- Monitor Shelf (optional)

- Viscoelastic Mattress (optional)

- 4 Sections Mattress Platform (Optional)

TECHNICAL DETAILS

Length	: 217 cm

Width	: 84 cm

Backrest Angle	: 0°-70°

TR/RTR Angle	: 0°-12°

Height Range (without Mattress)	: 58-88 cm

Castor Diameter	: 200 mm

Mattress Surface	: 62×195 cm

Mattress Thickness	: 10 cm

Safe Working Load Capacity	: 250 kg