EXAMY 2

EXAMINATION COUCH WITH DRAWERS

- Electrostatic painted metal frame

- Laminated wooden frame

- Drawer

- Paper roll hanger

- Synthetic leather lying surface

- Adjustable head section

TECHNICAL DETAILS

Width	: 65 cm

Lenght	: 195 cm

Height	: 72 cm

Safe Load Capacity	: 250 kg