EXAMY 3

EXAMINATION COUCH WITH KNOCKDOWN CONSTRUCTION

- Leatherette upholstered lying surface

- Gradually adjustable backrest mechanism

- Heavy duty steel structure with epoxy painted

- Foldable legs to occupy minimum space

- Anti-slip rubber shoes

- 28 kg Density

- Paper Roll Holder

TECHNICAL DETAILS

Width	: 60 cm

Length	: 180 cm

Backrest Angle	: 0°-50°

Height	: 70 cm

Mattress Thickness	: 5 cm

Safe Load Capacity	: 250 kg