EXAMY 4

EXAMINATION COUCH, HEIGHT ADJUSTABLE

EXAMY 4 is designed for use in physical examination clinics, private clinics, ultrasound rooms, physiotherapy centers, and hospitals. With smooth electric movement, comfortable upholstery, and excellent stability, each element of the EXAMY 4 couch is crafted to enhance convenience for doctors. This versatile auscultation couch can adapt to various types of examinations, with multiple options and accessories available.

- Three sectional ergonomic design

- Easy to operate

- Backrest adjustment with gas spring

- Legrest adjustment by gas spring

- Electrical height adjustment

- Hydraulic height adjustment two sided foot pedals (optional)

- Hand remote control

- Foot control switch (optional)

- Retractable rolling system fixing floor on 4 rubber caps

- Epoxy painted steel frame

- High quality foam with synthetic leather coated

- 220 kg safe working load

- Foldable, chrome plated side rails (optional)

- Breathing space with plug (optional)

- Paper roll holder (optional)

- Battery Back-up (optional)

TECHNICAL DETAILS

Length	: 1900 mm

Width	: 700 mm

Height Range (electrical)	: 500 – 880 mm

Height Range (hydraulic)	: 500 – 950 mm

Castor Diameter	: 50 mm

Backrest Angle	: +85° / -30°

Legrest Angle	: +85° / -30°

Backrest Dimension	: 700 x 650 mm

Seat Dimension	: 700 x 1250 mm

Total Lying Surface	: 700 x 1900 mm

Safe Working Load	: 220 kg