GYN 17

GYNECOLOGY TABLE, STAINLESS STEEL

- Gynecology bed with lithotomy position

- Stainless steel structure

- Backrest adjustment by gas spring

- Legrest adjustment manually, movable and fixed

- Three sections lying surface

- Removable mattress and mattress cover detachable, washable and waterproof

- Removable stainless steel fluid basin

- U shape cut on the seating area

- Stainless steel hand grips on both side of seat section

- Stainless steel side rails on both side of backrest

- Stainless steel foot step

- Detachable IV pole with 2 hooks, stainless steel

- Removable, height and angle adjustable PU padded knee supports

- Adjustable foot for un-even floor

TECHNICAL DETAILS

External Dimensions	: 180×75 cm

Height without Mattress	: 73 cm

Backrest Angle	: 0°-75°

Legrest Angle	: 0°-(-90°)

Lying Surface Dimensions	: 180×70 cm

Mattress Thickness	: 10 cm

Safe Working Capacity	: 150 kg