IN 22

ELECTRONIC PATIENT CARE BED, 2 MOTORS

- Electrical operated backrest and legrest adjustment

- Fowler and Vascular positions

- Hand remote control

- Detachable PP head and foot boards

- Auto-contour

- Easily cleanable, lockable and fold-away PP side rails

- Auto-regression system for backrest

- Easy removable ABS mattress platform

- Angle indicator for backrest

- Electrostatic powder coated metal frame

- Footrest adjustment by ratchet

- Height adjustable IV pole

- 125 mm diagonal lockable castors

- Protective plastic corner bumpers

- Dual side manual CPR levers at backrest (optional)

- Trendelenburg position (optional)

- IPX6 standard electronic system

TECHNICAL DETAILS

Overall Length	: 216 cm

Overall Width	: 102 cm

Height	: 46 cm

Backrest Angle	: 0°-70°

Legrest Angle	: 0°-35°

Castor Diameter	: 12,5 cm

Under Bed Clearance	: 12,5 cm

Safe Working Load	: 250 kg

Power In	: 1.5A max. At 230V AC 50-60 Hz

Electrical Shock Protection	: Class I, Type B

Liquid Ingress Protection	: IPX6