INOXY 111

SURGICAL SCRUB UNIT, SINGLE, SENSOR OPERATED

- 304 grade stainless steel main structure

- 1 Unit Battery with photocell

- 1 Unit baticon chamber with photocell

- Hot – cold water input

- Water discharge

- Adjustable legs

TECHNICAL DETAILS

Width	: 50 cm

Lenght	: 60 cm

Height	: 130 cm