MOMENTUM

FUNCTIONAL TRAUMA STRETCHER

- Hydraulic height adjustment supported with columns

- Height adjustment pedals on both sides

- 3 sections mattress surface

- Trendelenburg and Reverse Trendelenburg positions

- Backrest and legrest adjustment assisted by gas spring

- Foam mattress with Removable, anti-static and fire-retardant, waterproof and compatible with the size of the stretcher, 8 cm mattress thickness

- Full-length dual deck HPL radio-translucent mattress platform allows X-Ray filming all over the stretcher

- Oxygen tank holder (12 liters)

- Full-length foldable and lockable side rails. Easy storable under the mattress providing minimum transfer gap

- Foldable PU Pushing handles provide easy maneuverability

- Electrostatic powder (epoxy) coated main frame

- ABS sub-frame cover ensure maximum sterilization

- Dual functional pedal for central and directional lock at head and foot sides

- Height adjustable and foldable stainless steel IV Pole

- Urine bag hanger hooks

- Anti-static and anti-tracing, 360° Swivel castors

- 200mm Castors with central braking mechanism and steer control

- 125 mm dia. 5th Wheel for easy maneuverability (optional)

- Paper Roll hanger (optional)

- Patient safety belt (optional)

- Monitor Shelf (optional)

- Viscoelastic Mattress (optional)

TECHNICAL DETAILS

Length	: 205 cm

Width	: 85 cm

Backrest Angle	: 0°-70°

Legrest Angle	: 0°-40°

TR/RTR Angle	: 0°-16°

Height (Without Mattress)	: 65-95 cm

Castor Diameter	: 200 mm

5th Castor Diameter (optional)	: 125 mm

Mattress Surface	: 62,5 x 190 cm

Mattress Thickness	: 8 cm

Safe Working Load	: 250 kg