PE 42

PEDIATRIC ICU BED, 4 MOTORS

- 4 Motors

- Electrically operated backrest, height, legrest

- Trendelenburg and reverse Trendelenburg positions

- Fowler and Entry positions

- Hand control unit

- Height adjustable IV Pole

- HPL mattress platform, easy clean and hygienic

- Fold-away PP hygienic 4 pcs side rails

- Protective bumpers at corners

- Electrostatic powder coated steel main frame

- Dual-sided manual CPR at backrest (optional)

- Battery backup (optional)

- Nurse control panel (optional)

TECHNICAL DETAILS

Overall Length	: 190 cm

Overall Width	: 92 cm

Mattress Platform	: 160×70 cm

Height Range	: 45-89 cm

Trendelenburg	: 0°-13°

Reverse Trendelenburg	: 0°-13°

Backrest Angle	: 0°-70°

Legrest Angle	: 0°-35°

Castor Diameter	: 125 mm

Safe Working Load	: 250 kg

Power In	: 1.5A max. At 220V AC 50-60 Hz

Electrical Shock Protection	: Class I, Type B

Liquid Ingress Protection	: IPX66