PM 10

MECHANICAL PEDIATRIC BED, SINGLE ADJUSTMENT

- Backrest adjustments by ratchet mechanically

- Smoothly opening closing side rails

- Electrostatic powder coated metal frame

- 100 mm diagonal locking castors

- Drainage bag hooks at both sides

- Height adjustable IV pole

TECHNICAL DETAILS

External Dimensions	: 75×145 cm

Mattress Platform	: 70×140 cm

Backrest Angle	: 0o-60o

Height (without mattress)	: 70 cm

Castor Diameter	: 100 mm

Under Bed Clearance	: 45 cm

Safe Working Load (with Accessories)	: 110 kg