SB 04

SOFA BED

- 240 kg safety working capacity

- Steel construction easy open and close from Chair to bed position

- Easy to converting into bed

- Leatherette upholstered surface

- Leatherette upholstered armrests

- Box space for belongings on below of sitting area

- Antibacterial surface to enhance hygiene

- Fire retardant leather

TECHNICAL DETAILS

External Lenght (Chair Position)	: 99 cm

External Width	: 80 cm

External Height	: 95 cm

Lying Surface	: 65×195 cm

Safe Working Load	: 240 kg