SM 07

STANDARD MANUAL WHEELCHAIR

- Foldable chassis

- Black static paint coating

- Fixed foot and arm holder

- 8 ‘inch filler has front wheel diameter

- 24 ” silicone soft padding has rear wheel diameter

- Equipped with brake

- Chrome plated structure (optional)

- Belt (optional)

TECHNICAL DETAILS

Seat Width	: 44 cm

Seat Depth	: 42 cm

Seat Height	: 48 cm

Backrest Height	: 40 cm

Armrest Height	: 25 cm

External Width	: 67 cm

External Height	: 86 cm

External Length	: 102 cm

Item Weight	: 17 kg

Safe Working Load	: 100 kg