STACKER AL

STACKABLE WHEELCHAIR, ALUMINUM CONSTRUCTION

- With its stackable system it saves the space

- Easy-to-clean, movable armrests made of durable plastic material

- Aluminum Construction

- Seat and back section made up of strong plastic material in terms of providing patient comfort

- Front wheel system can rotate 360 degrees around itself

- Urine bag hook

- Central locking system at parking position

- Foot pedal that stands in off position during the park position

- Smart locking mechanism (optional)

- Safety belt (optional)

TECHNICAL DETAILS

Width	: 69.5 cm

Depth	: 104 cm

Height	: 102 cm

Front Castor Diameter	: 125 mm

Rear Castor Diameter	: 200 mm

Seat Padding Dimension	: 45.5 x 47 cm

Safe Working Load Capacity	: 150 kg