COSY PT

PATIENT TRANSFER CHAIR

- Synchronized backrest and legrest adjustment by gas spring

- Leather upholstery on sitting, back and leg sections

- Adjustable arm supports

- Removable Cushion

- Enhanced maneuverability with swivel rear castors

- Ergonomic push handles

- Height adjustable IV pole

- HPL Foot support platform

TECHNICAL DETAILS

Width	: 65 cm

Length	: 159 cm

Height	: 45 cm

Backrest Angle	: 0°-72°

Footrest Angle	: 0°-72°

Trendelenburg Angle (Stable)	: 0°-3°

Safe Working Load Capacity	: 200 kg

Rear Castor Diameter	: 125 mm

Front Castor Diameter	: 300 mm

Weight	: 55 kg