INOXY 112

SURGICAL SCRUB UNIT, DOUBLE, SENSOR OPERATED

- 304 grade stainless steel main structure

- Two unit battery with photocell

- One unit baticon chamber with photocell

- Hot – cold water input

- Water discharge

- Adjustable legs

TECHNICAL DETAILS

Width	: 70 cm

Lenght	: 128 cm

Height	: 130 cm