INOXY 113

SURGICAL SCRUB UNIT, TRIPLE, SENSOR OPERATED

- 304 grade stainless steel main structure

- Three unit battery with photocell

- Two infrared soap dispenser

- Hot – cold water input

- Hot – cold water mixer

- Anti back-splash design

- Water discharge

- Adjustable legs

TECHNICAL DETAILS

Width	: 70 cm

Lenght	: 190 cm

Height	: 85 cm

Overall Height	: 130 cm