OBSTETRA

ELECTRONIC DELIVERY BED, COLUMNAR MOTORS

- Electronic adjustments of backrest, legrest, height-up & down positions

- Electrical operated Trendelenburg and Reverse Trendelenburg positions.

- Metal parts coated with zinc phosphate and varnished with an electrostatic epoxy-polyester powder

- Easily cleanable, 3-section (HPL) compact laminate mattress surface.

- X-Ray permeable lying surface

- Converting to Bed

- Removable headboard and footboard made of hygienic PP materials.

- Tuck-away side rails made of hygienic PP materials

- IV pole receptacles and on the two corners of the headboard

- Rotating protective bumpers at all (four) corners of the bed

- Height adjustable IV pole

- Pair drainage hooks at both sides of the bed.

- Stainless steel accessory rails

- 125 mm diameter swivel castors with central locking system and directional lock

- Nurse control panel

- Electronically CPR (Reset)

- Equipped with powerful column motors

- Two-piece ABS plastic covered lower chassis

- Stainless steel accessories corrosion resistant

- Removable stainless steel fluid basin

- Adjustable patient hand grips

- Sliding foot section mechanism

- Angle indicators on the side rails for the backrest, Trendelenburg and Reverse Trendelenburg positions.

- Back up battery for non-stop operation in case of power failure.

- Foam mattress of 12 cm thickness and 28 kg/m3 suitable for lying surface with antibacterial & flame retardant cover

- Adjustable Leg supports

- Squatting Bar

- Upholstered heel Supports (foot support)

- Manual CPR for the backrest

- Accessory Trolley

- Control panels embedded on side rails (optional)

- Twin castors of 150 mm diameter (optional)

- Foot switch (optional)

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Backrest Angle: 0°-67° | Bed Surface (Extended): 85×191 cm |
|  | Pelvic Angle: 0°-27° | Bed Surface (Retracted): 85×144 cm |
|  | Trendelenburg Angle: 0°-20° | Height (without Mattress): 60-100 cm |
|  | Reverse Trendelenburg Angle: 0°-20° | Mattress Thickness (Backrest and Pelvic Sections): 12 cm |
|  | External Dimensions: 109×209 cm | Castor Diameter: 125 mm |
|  | Product Weight (Empty): 140 kg | Safe Working Load Capacity: 250 kg |