Brand: Axcent

Model: Musca x2

Name: Advance Portable Ventilator

Description

- A compact Ventilator suitable for Emergency and Disaster Relief Situations, Applications in Ambulances, Public Areas and also for Intra-Hospital and Inter-Hospital Transport

Features

- Compact design with weight of 3.4 kg.

- 7” color touch screen with screen lock function.

- Airway pressure and EtCO2 real-time waveforms.

- Smart CPR mode according to AHA guideline.

- I-E ratio range: 1:9 to 9:1.

- tidal volume range: 50 to 2500 ml.

- 9 ventilation modes: IPPV, V-AC, V-SIMV, P-AC, P-SIMV, CPAP, PCV, Manual, CPR.

- Internal PEEP valve.

- 40% or 100% for FiO2.

- Rechargeable Li-ion battery with 6 hours working time.

- Optional Mainstream EtCO2 analyzer.

- Audible and visual alarm for multiple parameters.

- IPX4 waterproof.