SB 01

ATTENDANT SOFA BED WITH CASTORS

- 75 mm swivel and lockable castors

- 240 kg safety working capacity

- Steel construction easy open and close from Chair to bed position

- Easy to converting into bed

- Fabric or leatherette upholstered surface

- Fabric or leatherette upholstered armrests

- Box space for belongings on below of sitting area

- Antibacterial surface to enhance hygiene

TECHNICAL DETAILS

External Length (Chair Position)	: 99 cm

External Width	: 90 cm

External Height	: 95 cm

Lying Surface	: 65×195 cm

Castor Diameter	: 75 mm

Safe Working Load	: 240 kg