Brand: CBMT

Model: YR-MT870 Series

Name: Oxygen Regulator Pin-index

Description

Click-Style Oxygen Regulators are designed for precise and reliable oxygen flow control in medical applications.
Constructed with a durable aluminum body and brass high-pressure chamber, the regulator ensures safety, longevity, and consistent performance.
The click-style mechanism allows accurate preset flow selection, making it ideal for hospital and emergency use.

Features

- Aluminum body with brass high-pressure chamber

- 3000 psi maximum inlet pressure

- 1-1/2” diameter UL-listed gauge

- Inlet connection complies with CGA standards

- Internal relief valve for safety protection

- Customizable color options (green, blue, yellow, etc.)

- Piston design regulator for stable performance

- Sintered bronze inlet filter for extended service life

- Easy-to-read flow rate window

  - Selectable flow settings: 0, 0.5, 1, 2, 3, 4, 5, 6, 8, 10, 15, 25 LPM

- Each unit includes 12 fixed flow settings for precise control

- YR-MT870 Series: 85 mm / 115 mm / 120 mm / 125 mm / 165 mm

  - CGA870 pin index connection

  - Outlet: Barbed outlet Ø8 mm

Technical Specifications

- Max Inlet Pressure: 3000 psi

- Gauge Size: 1.5 inch

- Flow Range: 0 – 25 LPM (12 preset levels)

- Inlet Standards: CGA540 / CGA870

- Outlet Options: Hose barb / threaded (G3/4)

  - Packaging: 20 pcs / carton &  Carton size: 40.5 × 15.5 × 35.5 cm & Gross weight: 9.8 kg