Brand: CBMT

Model: ME 4.6L

Name: Medical Aluminum Oxygen Cylinder

Description

DOT-standard medical aluminum oxygen cylinder designed for safe and reliable oxygen storage and delivery in medical applications.

Manufactured from lightweight high-strength aluminum alloy for durability, portability, and corrosion resistance.
Suitable for emergency care, ambulance services, hospitals, home care, and patient transport applications.

Technical Specifications

- Model Number: ME

- Service Pressure: 2015 psi / 139 bar

- Diameter: 4.38 in / 111.3 mm

- Length: 25.4 in / 645 mm

- Empty Weight: 7.8 lbs / 3.6 kg

- Oxygen Capacity: 24.0 cu.ft / 679 L

- Water Capacity: 10.2 lbs / 4.6 L

- Standard Thread Size: 0.75-16UNF-2B