Brand: GGM

Model: VH-2100

Name: General Purpose Humidifier

Description

Medical general-purpose humidifier designed for respiratory therapy applications with adjustable temperature control, streamlined design, and compatibility with standard humidifier chambers.

Key Features

- Streamlined compact design

- Water drainage design

- Compatible with standard humidifier chambers

- Adjustable temperature settings (Step 1–9)

- Stable heating performance

- Overheat protection system

- Easy operation and maintenance

Technical Specifications

- Model: VH-2100-115 / VH-2100-230

- Dimensions: W135 × D170 × H156 mm

- Weight: 1.5 kg (without chamber)

- Heater Plate Capacity: 150W max

- Temperature Output: 93°C ±6°C

- Power Supply:

  - 230V ±23V, 0.7A max

  - 115V ±12V, 1.3A max

- Overheat Cutoff: 93°C ±5°C

- Temperature Control: 9 adjustable levels

- Standards:

  - IEC/EN 60601-1

  - IEC/EN 60601-1-2

  - ISO 8185

Accessories

- VH-3144 reusable humidifier chamber (without scroll)

Applications

- Respiratory therapy

- Humidification during oxygen therapy

- ICU & hospital respiratory care

- Ventilator humidification systems