Brand: ITC

Model: JustFlow F-Series

Name: JustFlow F-Series Ball Flowmeter

Description

Medical ball flowmeter designed for hospital oxygen and medical air delivery systems with easy 360° scale visibility and precise flow adjustment.

Key Features

- Ball-type flowmeter for medical gas delivery

- 360° rotatable scale for easy reading

- Precise adjustable flow control

- Compatible with humidifier jars

- Available in single or dual configurations

- Compact and durable design

- Multiple international connector standards available

- Suitable for wall outlets and rail mounting systems

Available Connections

- DIN 13260-2

- NF S 90-116

- BS 5682

- SS 8752430

- Other standards available on request

Applications

- Oxygen therapy

- Medical air supply

- ICU & hospital wards

- Emergency rooms

- Bed head units and pipeline systems