Brand: Konted

Model: C10 CW

Name: C10CW USB&Wifi Cardiac Ultrasound Probe

Description

Wireless Ultrasound Scanners are wireless and work with a mobile app that is compatible with most iOS and Android smart devices as well Windows system, also can be connected with Type-C cable. Imaging transmission is done by internal 5G Wi-Fi , no external networks needed and work for most specialties in hospitals , clinics, healthcare center etc.

Features

- Wireless phased array cardiac ultrasound probe

- Frequency: 2.2 / 3.6 MHz

- Depth: up to 200 mm

- 128 elements – 80° scan angle

- Imaging Modes: B, M, Color Doppler, PW/CW

- Compatible with Android, iOS, Windows

- Wi-Fi + USB connectivity

- IPX8 waterproof

- Battery life: 4 hours scanning / 72 hours standby

- Recharge time: 3–4 hours

- Supports Type-C USB & wireless charging

- Weight: 165 g

- Supports DICOM, JPEG, MP4 storage

- Languages: Multi-language support

- Available in 2 shell colors