BD 28

ELECTRONIC BLOOD DRAWING CHAIR

- 2 motors

- Electronic adjustments of backrest, footrest and Trendelenburg functions

- Synthetic leather upholstered seat and back surface

- Epoxy painted steel structure with ABS covered sub-frame and outer sides of chair

- Hand control unit

- Auto-contour

- Sitting position

- Relax position

- Bed position

- Detachable cushion

- Synthetic leather upholstered armrests

- Arm rest are horizontally and vertically adjustable

- Removable foot rest with length adjustment (optional)

- Height adjustable IV pole

- Antistatic swivel castors with and directional lock

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Width: 98 cm | Castor Diameter: 75 mm |
|  | Length: 171 cm | Safe Working Capacity: 220 kg |
|  | Height: 54 cm | Weight: 80 kg |
|  | Backrest Angle: 0°-78° | Power In: max. 3,15A 100V – 240V ~ 50/60 Hz |
|  | Footrest Angle: 0°-40° | Electrical Shock Protection: Class I, Type B |
|  | Trendelenburg Angle: 0°-12° | Liquid Ingress Protection: IPX4 |