CL 32

ELECTRONIC PATIENT CARE BED, 3 MOTORS

- Electrical operated backrest, height and legrest adjustment

- Fowler and Vascular positions

- Hand remote control

- Detachable PP head and foot boards

- Auto-contour

- Easily cleanable, lockable and fold-away PP side rails

- Auto-regression system for backrest

- Easy removable ABS mattress platform

- Angle indicator for backrest

- Electrostatic powder coated metal frame

- Footrest adjustment by ratchet

- Height adjustable IV pole

- Protective plastic corner bumpers

- 125 mm diagonal lockable castors

- 125 mm central lockable castors (optional)

- Dual side manual CPR levers at backrest (optional)

- Bed Extension (optional)

- Battery backup (optional)

- IPX6 standard electronic system

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Overall Length | : 220 cm |
|  | Overall Width | : 100 cm |
|  | Mattress Surface | : 85 x 200 cm |
|  | Height | : 42-81 cm |
|  | Backrest Angle | : 0°-70° |
|  | Legrest Angle | : 0°-40° |
|  | Castor Diameter | : 12,5 cm |
|  | Under bed Clearance | : 12,5 cm |
|  | Safe Working Load | : 250 kg |

|  | ELECTRICAL DATA |  |
| --- | --- | --- |
|  | Power In | : 1.5A max. At 230V AC 50-60 Hz |
|  | Electrical Shock Protection | : Class I, Type B |
|  | Liquid Ingress Protection | : IPX6 |

OPTIONAL ACCESSORIES

Central Brake Castors, 150 mm

Rechargeable Battery Backup

Trendelenburg by Gas Spring

X-Ray Cassette Holder at Backrest

Bed Extension

Oxygen Cylinder Holder

Urine Bag Basket

Dual Sided Manual CPR at Backrest

Lifting Pole

Orthopedic Traction System

COLOR CHART

P01 – White

P02 – Cappuccino

P03 – Light Blue

P04 – Green

P05 – Light Gray

P06 – Navy Blue

P07 – Dark Gray

P08 – Yellow

P09 – Aquamarine

P10 – Claret Red