COSY PT

PATIENT TRANSFER CHAIR

- Synchronized backrest and legrest adjustment by gas spring

- Leather upholstery on sitting, back and leg sections

- Adjustable arm supports

- Removable Cushion

- Enhanced maneuverability with swivel rear castors

- Ergonomic push handles

- Height adjustable IV pole

- HPL Foot support platform

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Width | : 65 cm |
|  | Length | : 159 cm |
|  | Height | : 45 cm |
|  | Backrest Angle | : 0°-72° |
|  | Footrest Angle | : 0°-72° |
|  | Trendelenburg Angle (Stable) | : 0°-3° |
|  | Safe Working Load Capacity | : 200 kg |
|  | Rear Castor Diameter | : 125 mm |
|  | Front Castor Diameter | : 300 mm |
|  | Weight | : 55 kg |

COLOR CHART