EXAMY 5

EXAMINATION COUCH, HEIGHT ADJUSTABLE

EXAMY 5 is designed to use in physical examination clinics, private clinics, manual therapy centers, ultrasound rooms and hospitals.

- Two sectional ergonomic design

- Easy to operate

- Backrest adjustment with gas spring

- Motorized backrest adjustment (optional)

- Electrical height adjustment

- Hydraulic height adjustment by bilateral foot pedal (optional)

- Hand remote control

- Foot control switch (optional)

- Retractable rolling system fixing floor on 4 rubber caps

- Epoxy painted steel frame

- High quality foam with synthetic leather coated

- Foldable, chrome plated side rails (optional)

- Breathing space with plug (optional)

- Paper roll holder (optional)

- Battery Back-up (optional)

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Length | : 1900 mm |
|  | Width | : 700 mm |
|  | Height Range (electrical) | : 500 – 880 mm |
|  | Height Range (hydraulic) | : 500 – 950 mm |
|  | Castor Diameter | : 50 mm |
|  | Backrest Angle | : +85° / -30° |
|  | Backrest Dimension | : 700 x 650 mm |
|  | Seat Dimension | : 700 x 1250 mm |
|  | Total Lying Surface | : 700 x 1900 mm |
|  | Safe Working Load | : 220 kg |