GYN 16

GYNECOLOGY TABLE, MECHANIC

- Epoxy powder painted steel structure

- 3-section, independent adjustments of backrest and legrest manually.

- Trendelenburg adjustment (optional)

- Synthetic leather upholstered mattress surface

- Adjustable rubber feet

- Height adjustable anatomic polyurethane leg holders

- Shoulder rests (optional)

- Support handles

- Removable stainless steel fluid basin.

- Paper roll hanger

- Integrated adjustable foot stool

- IV pole with 2 hooks mountable on both sides

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | External Dimensions | : 172 x 79 cm |
|  | Height with Upholstery | : 84 cm |
|  | Backrest Angle | : 0°-75° |
|  | Legrest Angle | : 0°-(-90°) |
|  | Lying Surface Dimensions | : 170 x 57 cm |
|  | Upholstery Thickness | : 6 cm |
|  | Foot Stool Height | : 19 cm |
|  | Safe Working Load | : 150 kg |