GYNEA 3

GYNECOLOGY TABLE, 3 MOTORS

- 3 motors

- Suitable for Gynecological examinations

- Electronic adjustments of backrest, height, Trendelenburg and reverse Trendelenburg functions by hand control unit

- Anti-microbial, water proof, flame retardant, air permeable and easy cleanable mattress

- Removable stainless steel fluid basin

- Lockable, Removable and Adjustable Polyurethane Leg Supports (with belt), Strain Handle

- ABS covered back of table

- ABS covered sub-frame

- Stainless steel accessory rails

- Electrostatic powder coated metal frame

- Paper roll support at backrest

- Removable and adjustable armrest

- Removable foot extension

- Removable and adjustable headrest

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Backrest Angle | : 0°-78° |
|  | Trendelenburg Angle | : 0°-13° |
|  | Reverse Trendelenburg Angle | : 0°-4° |
|  | Safe Working Load Capacity | : 180 kg |
|  | Product Weight | : 95 kg |
|  | External Dimensions (with extension) | : 70×168 cm |
|  | Bed Surface | : 60×168 cm |
|  | Height (without mattress) | : 61-81 cm |
|  | Mattress Thickness | : 10 cm |

|  | ELECTRICAL DATA |  |
| --- | --- | --- |
|  | Power In | : Max. 3,15A 100V – 240V ~ 50/60 Hz |
|  | Electrical Shock Protection | : Class I, Type B |
|  | Liquid Ingress Protection | : IPX4 |

|  | BATTERY (OPTIONAL) |  |
| --- | --- | --- |
|  | 2x 12V Series Connected, sealed, rechargeable, Lead / Acid gel |  |
|  | 1.2 amp hrs. |  |
|  | Approx. 10 hours charge time |  |

COLOR CHART