INOXY 113

SURGICAL SCRUB UNIT, TRIPLE, SENSOR OPERATED

- 304 grade stainless steel main structure

- Three unit battery with photocell

- Two infrared soap dispenser

- Hot – cold water input

- Hot – cold water mixer

- Anti back-splash design

- Water discharge

- Adjustable legs

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Width | : 70 cm |
|  | Lenght | : 190 cm |
|  | Height | : 85 cm |
|  | Overall Height | : 130 cm |