MATERNEUM

ELECTRONIC GYNECOLOGY COUCH

- Three motors

- Electrical backrest, height, and Trendelenburg/Reverse Trendelenburg adjustments

- Electric adjustment system with remote control

- Three sectional ergonomic design

- Consist of back section, pelvis and thighs section

- Electrostatic powder-coated metal frame

- Anti-microbial, waterproof, flame-retardant, and easy-to-clean upholstery

- Stainless steel accessory rails

- Stainless steel fold-down side rails with patient handles

- Easy removable stainless steel fluid basin

- Paper roll support

- Adjustable and lockable polyurethane leg supports with straps

- 4 castors with retractable rolling system brakes fixing floor on 4 rubber caps

- Backrest with gas spring (optional)

- Hydraulic height adjustment (optional)

- Grip handles (optional)

- Footrest (optional)

- Rechargeable battery backup system (optional)

- Foot switch (optional)

- Two-motor version (optional)

Materneum Delivery Bed

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | External Length | : 1650 mm |
|  | External Width | : 800 mm |
|  | Total Lying Surface | : 700 x 1650 mm |
|  | Height Range (electrical) | : 525-960 mm |
|  | Height Range (hydraulic) | : 485-905 mm |
|  | Backrest Angle (electrical) | : 0°-85° |
|  | Backrest Angle (gas spring) | : 0°-80° |
|  | Trendelenburg Angle | : 0°-16° |
|  | Reverse Trendelenburg Angle | : 0°-4° |
|  | Upholstery Thickness | : 50 mm |
|  | Castor Diameter | : 50 mm |
|  | Safe Working Load | : 250 kg |