OB 33

OVERBED TABLE, TILTABLE TOP, ALUMINIUM

- Lateral tilting overbed table

- HPL top surface

- Height adjustment by gas spring mechanism.

- 360° swivel and Lockable castors

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | External Dimensions | : 480×780 mm |
|  | Height Adjustment | : 81×105 cm |
|  | HPL Table Dimensions | : 615×405 mm |
|  | Castor Diameter | : 50 mm |