OT TRANS

OPERATING ROOM TRANSFER STRETCHER, STAINLESS STEEL

- 2 combinable and lockable 304 quality stainless steel chassis and 1 sliding stainless steel stretcher, one chassis for dirty area and another chassis for clean are (operating room) in order to transfer patient from dirty area to clean area

- Gas spring assisted backrest adjustment

- 304 quality Stainless Steel main structure

- Anti-microbial, water proof, flame retardant, air-permeable viscoelastic mattress

- Telescopic IV pole

- Collapsible, full length polyurethane side rails with safety lock mechanism

- Easily cleanable, compact laminate two section mattress platform

- 2 units of IV pole sockets and accessory sockets

- Drainage bag holders and accessory hooks

- Ergonomic pushing bars

- Protective corner bumpers

- 360° Swivel and lockable castors

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Lenght | : 208 cm |
|  | External Length (Combined Lower Trolleys) | : 420 cm |
|  | Width | : 78 cm |
|  | Backrest Angle | : 0°-75° |
|  | Height (Without Mattress) | : 68 cm |
|  | Castor Diameter | : 125 cm |
|  | Mattress Surface | : 62×190 cm |
|  | Back Section Length | : 70 cm |
|  | Mattress Thickness | : 8 cm |
|  | Safe Working Load Capacity | :250 kg |