SB 01

ATTENDANT SOFA BED WITH CASTORS

- 75 mm swivel and lockable castors

- 240 kg safety working capacity

- Steel construction easy open and close from Chair to bed position

- Easy to converting into bed

- Fabric or leatherette upholstered surface

- Fabric or leatherette upholstered armrests

- Box space for belongings on below of sitting area

- Antibacterial surface to enhance hygiene

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | External Length (Chair Position) | : 99 cm |
|  | External Width | : 90 cm |
|  | External Height | : 95 cm |
|  | Lying Surface | : 65×195 cm |
|  | Castor Diameter | : 75 mm |
|  | Safe Working Load | : 240 kg |