SB 03

RECLINING CHAIR

SB 03 Reclining chair has been designed with soft lines and rounded edges, without sharp edges and cutting surfaces to avoid any problem with cuts and scratches.

- Strong Construction

- 180 kg safety working capacity.

- Steel construction easy open and close

- Easy to recline

- Fabric or leatherette upholstered surface

- Fabric or leatherette upholstered armrests

- Antibacterial surface to enhance hygiene

- IV Pole (Optional)

- Pushing Handle (Optional)

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | External Depth (Chair Position) | : 103 cm |
|  | External Width | : 75 cm |
|  | External Height | : 82 cm |
|  | Lying Surface | : 65×170 cm |
|  | Safe Working Load | : 180 kg |