Brand : Spencer

Model: AMBUJET P 1000 B 10G

Name: Portable suction device with 10G wall fixing with auto recharge

description

Space-saving suction device to be used to remove fluids from the airway or respiratory support system. The device creates a negative pressure that draws fluids through disposable tubing that is connected to the collection container.

The base performs the dual function of charging station and fixing in accordance to EN 1789 standard.

Features:

- low weight and size

- Easy view of the setted vacuum thanks to the led indicators

- Classification ISO High Vacuum/ High Flow

- Suction device protected from bumps and falls thanks to the protective shell

- Mechanism of engagement and release from the base extremely rapid

- Recharging of the battery is done simply by placing the device on the mounting system