BD 48

ELECTRONIC BLOOD DRAWING CHAIR, 4 MOTORS

- 4 DC motors

- Electronic adjustments of backrest, legrest, height, and Trendelenburg functions by hand control unit

- The chair is upholstered by high density foam that distributes the body pressure over a wide area and besides comfortable seating, allows for good blood circulation

- Foam’s capacity let the patient redistribute weight and surface pressure, potentially reducing decubitus ulcers

- ABS covering designed to keep itself in the upholstery and it blocks the dust which goes into the upholstery

- During the back rest movement, arm rests moves with the back rest simultaneously and the arm rests are easy removable

- Easy adjustable and removable upholstered arm rests

- 360° swivel, diagonal lockable castors of 125 mm diameter

- Rechargeable Back-up battery (optional)

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Backrest Angle | : 0°-75° |
|  | Trendelenburg Angle | : 0°-13° |
|  | Reverse Trendelenburg Angle | : 0°-(-3)° |
|  | Legrest Angle | : 0°-85° |
|  | Safe Working Load Capacity | : 180 kg |
|  | Weight | : 105 kg |
|  | External Dimensions (with Armrest) | : 174 x 102 cm |
|  | Bed Surface | : 174 x 54.5 cm |
|  | Height Range | : 64-84 cm |
|  | Castor Diameter | : 125 mm |

|  | ELECTRICAL DATA |  |
| --- | --- | --- |
|  | Power In | : Max. 3,15A 100V-240V ~ 50-60 Hz |
|  | Electrical Shock Protection | : Class I, Type B |
|  | Liquid Ingress Protection | : IPX 4 |