EXAMY 2

EXAMINATION COUCH WITH DRAWERS

- Electrostatic painted metal frame

- Laminated wooden frame

- Drawer

- Paper roll hanger

- Synthetic leather lying surface

- Adjustable head section

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Width | : 65 cm |
|  | Lenght | : 195 cm |
|  | Height | : 72 cm |
|  | Safe Load Capacity | : 250 kg |