SM 07

STANDARD MANUAL WHEELCHAIR

- Foldable chassis

- Black static paint coating

- Fixed foot and arm holder

- 8 ‘inch filler has front wheel diameter

- 24 ” silicone soft padding has rear wheel diameter

- Equipped with brake

- Chrome plated structure (optional)

- Belt (optional)

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Seat Width | : 44 cm |
|  | Seat Depth | : 42 cm |
|  | Seat Height | : 48 cm |
|  | Backrest Height | : 40 cm |
|  | Armrest Height | : 25 cm |
|  | External Width | : 67 cm |
|  | External Height | : 86 cm |
|  | External Length | : 102 cm |
|  | Item Weight | : 17 kg |
|  | Safe Working Load | : 100 kg |