STACKER SS

STACKABLE WHEELCHAIR, STAINLESS STEEL

- With its stackable system it saves the space

- Easy-to-clean, movable armrests made of durable plastic material

- Stainless steel body reinforced with a special twist angle

- Seat and back section made up of strong plastic material in terms of providing patient comfort

- Front wheel system can rotate 360 degrees around itself

- Urine bag hook

- Central locking system at parking position

- Foot pedal that stands in off position during the park position

- Smart locking mechanism (Optional)

- Safety belt (Optional)

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Width | : 69,5 cm |
|  | Depth | : 104 cm |
|  | Height | : 102 cm |
|  | Front Castor Diameter | : 125 mm |
|  | Rear Castor Diameter | : 200 mm |
|  | Seat Padding Dimension | : 45,5 x 47 cm |
|  | Safe Working Load Capacity | : 150 kg |