Brand: Axcent

Model: Cetus x15

Name: Multi-Parameter Critical Care Monitor

Description

Multi-Parameter Critical Care Monitor for all Patient Categories

Features

- 15.6” High resolution TFT LCD Touch screen

- 10 waveform display, up to 12-lead ECG analysis

- Useful calculation (Hemodynamic, Drug Dose, Oxygenation, Ventilation)

- Pacemaker detection

- ST & arrhythmia analysis

- SpO2 support PVI and PI, low perfusion 0.2%

- BISx module, NMT module optional

- Wired/Wireless CMS, support HL7 protocol to HIS

- SpO2 pulse-tone modulation (Pitch Tone)

- VGA support external display

- Graphical & tabular trend review (120 hours)

- 48 hours full disclosure wave review for each patient

Configuration:

ECG, Analog SpO2, NIBP, 2x TEMP, PR, RESP, Li-ion battery

Optional:

Touch-Screen, 12-lead ECG, Digital or Masimo SpO2, 2/4/6 IBP, Cardiac Output, EtCO2 Analyzer, Multi-Gas Analyzer, BIS, NMT, HDMI, Thermal Recorder, Wired/Wireless CMS