Brand: CA-MI

Model: NEW HOSPIVAC 350

Name: professional aspiration 10L

Description

NEW HOSPIVAC 350 has been designed for professional aspiration of bodily fluids, tissues or bones of the patient during or after surgery.
The state-of-the-art oil-less piston pump guarantees high performances with excellent suction capacities and maximum vacuum reachable within a few seconds, with no need for maintenance.
A clear dashboard along with a full range of accessories makes it the ideal device for surgical suction and liposuction.

Main Applications

- Emergency Department

- General Surgery

- Gynecology

- Liposuction

- Neurosurgery

- Obstetrics

- Operating Theatre

- Dental Practice

Technical Features

- Motor: Oil-less and maintenance-free piston pump

- Power Feeding: 230V / 50Hz (other configurations on request)

- Classification (ISO 10079-1): High Vacuum / High Flow

- Max Vacuum (adjustable): -0.90 bar / -90 kPa / -675 mmHg

- Max Free Air Flow Rate: 60 L/min

- Noise Level: 51.7 dB(A)

- Duty Cycle: Non-stop operation

- Weight: 13 kg

- Size: 46 × 85 × 42 cm

- Years of Warranty: 2

- Shipping Carton: 1

- Place of Manufacturing: Italy