Brand: Konted

Model: C10 RL

Name: C10RL Dual-Probes Multipurpose Ultrasound Convex +Linear+ Cardiac Probe

Description

The Konted C10RL is a combination of two probes, one side of the convex array probe and the other side of the line array probe, and the convex array probe has a cardiac preset function.The Konted C10RL is a wireless ultrasound scanner with dual probe, 3 in 1 multipurpose handheld convex+linear+cardiac whole body ultrasound scan.

Features

- Handheld USB + Wi-Fi Color Doppler Ultrasound

- 3-in-1 probe: Linear + Convex + Phased Array

- Imaging Modes: B, B+M, Color Doppler, PW, Power Doppler

- Compatible with Android, iOS, and Windows

- Linear Frequency: 7.5 / 10 MHz

- Convex/Cardiac Frequency: 2.5 / 5 MHz & 3.5 / 5 MHz

- Scan Depth: up to 305 mm

- Built-in Wi-Fi signal

- Battery: 2800mAh lithium battery

- Working time: ≥3 hours

- Standby time: ≥12 hours

- Supports working while charging

- Lightweight design: 90 g

- Applications: Abdomen, OB/GYN, Cardiac, Vascular, Thyroid, Breast, MSK, Pediatrics, Urology

- Supports measurements, report editing, and multi-language software

- Portable for clinic, ER, ICU, OR, and bedside use