Brand: Konted

Model: C10 XL

Name: C10XL Dual-Probes Multipurpose Ultrasound Phased + Linear Probe

Description

Mini wireless Cardiovascular ultrasound, multipurpose dual head linear+cardiac Ultrasound probe can provide you with HD heart images. The C10XL, as a kind of wifi ultrasound probe, is a combination of two probes, one side of the phased array probe and the other side of the line array probe.

Features

- Dual probe handheld ultrasound (Linear + Phased)

- Wireless Wi-Fi & USB connectivity

- Compatible with Android, iOS, and Windows

- Imaging modes: B, B/M, Color Doppler, PW, PDI, B+Color+PW

- 128 elements electronic array

- Linear probe: 7.5/10 MHz, depth up to 100 mm

- Suitable for Cardiac, MSK, Nerve, Thyroid, Vascular, Abdomen, OB/GYN, Emergency, and Clinical applications

- Built-in 2800mAh battery with USB & wireless charging

- Working time up to 3 hours

- Supports DICOM, report editing/printing, image & video saving/sharing

- Features: Dual screen display, auto vessel flow measurement, measure magnify, full-screen imaging, 8 TGC, and 10 presets/body marks

- Portable lightweight design for bedside and emergency use