PE 42

PEDIATRIC ICU BED, 4 MOTORS

- 4 Motors

- Electrically operated backrest, height, legrest

- Trendelenburg and reverse Trendelenburg positions

- Fowler and Entry positions

- Hand control unit

- Height adjustable IV Pole

- HPL mattress platform, easy clean and hygienic

- Fold-away PP hygienic 4 pcs side rails

- Protective bumpers at corners

- Electrostatic powder coated steel main frame

- Dual-sided manual CPR at backrest (optional)

- Battery backup (optional)

- Nurse control panel (optional)

Other pediatric beds products

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Overall Length | : 190 cm |
|  | Overall Width | : 92 cm |
|  | Mattress Platform | : 160×70 cm |
|  | Height Range | : 45-89 cm |
|  | Trendelenburg | : 0°-13° |
|  | Reverse Trendelenburg | : 0°-13° |
|  | Backrest Angle | : 0°-70° |
|  | Legrest Angle | : 0°-35° |
|  | Castor Diameter | : 125 mm |
|  | Safe Working Load | : 250 kg |

—

|  | ELECTRICAL DATA |  |
| --- | --- | --- |
|  | Power In | : 1.5A max. At 220V AC 50-60 Hz |
|  | Electrical Shock Protection | : Class I, Type B |
|  | Liquid Ingress Protection | : IPX66 |