PM 10

MECHANICAL PEDIATRIC BED, SINGLE ADJUSTMENT

- Backrest adjustments by ratchet mechanically

- Smoothly opening closing side rails

- Electrostatic powder coated metal frame

- 100 mm diagonal locking castors

- Drainage bag hooks at both sides

- Height adjustable IV pole

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | External Dimensions | : 75×145 cm |
|  | Mattress Platform | : 70×140 cm |
|  | Backrest Angle | : 0o-60o |
|  | Height (without mattress) | : 70 cm |
|  | Castor Diameter | : 100 mm |
|  | Under Bed Clearance | : 45 cm |
|  | Safe Working Load (with Accessories) | : 110 kg |