CRIB 2

BABY CRIB

- Antibacterial electrostatic powder painted frame

- Easy cleanable surface.

- Reverse Trendelenburg position with multiple angles up to 10 degrees.

- Antibacterial, transparent, Plexiglas bassinet.

- Pushing bar at head side.

- Antibacterial mattress with high density of 22 kg/m3.

- Lower basket for newborn baby’s belongings.

- 360o Swivel, diagonal lockable castors.

Other Pediatric Beds products

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Width | : 47 cm |
|  | Length | : 83 cm |
|  | Height | : 104 cm |
|  | Bassinet Height | : 25 cm |
|  | Reverse Trendelenburg | : 10° |
|  | Sleep Surface Width | : 33 cm |
|  | Sleep Surface Lenght | : 64 cm |
|  | Castor Diameter | : 50 mm |
|  | Mattress Thickness | : 6 cm |