UNICART DRESSING

DRESSING AND MEDICATION CART

Click for detailed video of the product

|  | Construction: | Aluminium base |
| --- | --- | --- |
|  | Body Material: | Top and side made by PP antibacterial and fire retardant material |
|  | Locking Mechanism: | Manual control, break knock system For Knocking press and turn up to holder For opening turn down to the holder |
|  | Drawers: | 2 pcs 70 mm, 2 pcs 160 mm and 1 pcs 250 mm total 5 drawers |
|  | Separators Holders: | ABS plastic 10 pcs |
|  | Drawer Dimensions: | 1. and 2. drawers : 445 x 545 x 70 mm 3. and 4. drawers 445 x 545 x 160 mm 5. drawers 445 x 545 x 250 mm Inner dimensions |
|  | Inside Drawers: | Made by PS material 1. drawer total 20 separators 2. drawer total 18 separators 3. drawer total 9 separators 4. drawer total 8 separators 5. drawer total 8 separators |
|  | Top Surface: | The side panels and top plate of the trolley is made of polypropylene (PP) material |
|  | Castors: | 2 pcs knockable, 2 pcs without knock, 125 mm |
|  | Waste Bin: | Made by PE material |

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Width | : 825 mm |
|  | Depth | : 585 mm |
|  | Height | : 1150 mm |
|  | Castor Diameter | : 125 mm |